IV.  Instruments for Cosmic Rays

The instruments that we have discussed in connection with the solar wind, electrostatic analyzers and time-of-flight mass spectrometers, are ideal for low energy ions.  This means solar wind energies (1 – a few keV/Nucleon), pick up ions (a few 10 - a few 100 keV/Nucleon) and ions accelerated moderately out of these distributions. If we want to extend the application regime, we face limitations.

We use																(IV.0_1)

to determine the species. The M/Q determination hinges on good measurements of E/Q in an electrostatic analyzer and of E/M in a TOF spectrometer.

a)	Time-of-flight measurement:

The uncertainty in M/Q resulting from a TOF measurement is:

if E/Q would be accurate

(( cannot be measured more accurately than typically 0.1-0.5 nsec, because of limitations of the electronics and the collection of the electrons from the foil. For the time-of-flight spectrometer ULEIS on ACE it presented a real challenge to approach the lower end of this uncertainty range. The delay time variations in the electronic circuits alone played a major role.

Let us compare a few numbers for a typical time-of-flight distance s = 10 cm:

1 keV/Nuc	( ( = 220 nsec

100 keV/Nuc	( ( = 22 nsec

10 MeV/Nuc	( ( = 2.2 nsec

We reach a limit for good TOF resolution soon.

To mitigate this, we can make s longer.  However, this option is limited by the S/C size and weight limitations.

b)	Electrostatic Analyzer

The energy/charge of the incoming ion determines the size of the analyzer and the voltage that needs to be applied:

(IV.0_2)

In order to accommodate higher energies either a higher voltage (and thus a stronger electric field) between the analyzer plates and/or a larger radius R is needed.  Higher electric fields face the limitations of breakdown (beyond a few kV/mm).  HV supplies which are small are extremely difficult to build for voltages > 30 kV.  Finally, a larger radius R means a larger instrument, which does not fit on a S/C.

Generally the size of the electrostatic analyzer reaches the limit first. We need to look for alternative options.

VI.I  Solid State Detectors

If we just want to know the energy of a particle (electrons or ions), we can use a solid state detector (SSD), which stops the particle and returns a signal whose amplitude is proportional to the total energy (E). We can determine the mass of an ion by combining an SSD with a TOF spectrometer, again for moderately high energies. From the TOF spectrometer we get E/M. Together with E this leads to M.

A SSD makes use of the inner photo effect in a semiconductor.  A photon or similarly an energetic particle can lift electrons from the valence band (where they are fixed) into the conduction (energy) band, where they can move freely. The separation of positive (holes) and negative (electrons) particles in the semiconductor creates a charge pulse. With the appropriate circuit this is converted into a voltage pulse that can be analyzed.

/  / / / / / / / / / / / / / / / / / / / / / / /		conductive band

EFermi

Energy gap in Si ( 3 eV

valence band

Si is a widely used semiconductor.  Doped with artificial defects it can be tailored for many uses.

For example:

Si		has		4 outer electrons

Adding atoms with 5 outer electrons makes it an electron Donor (or n-type Si). Electrons can more easily move into the conduction band.

For example, As 	has	5 outer electrons	(	 It is a donor

Adding atoms with 3 outer electrons (e.g. In) makes Si an electron acceptor (or p-type Si). Now holes (missing electrons, sometimes called defect electrons) can move around more freely.

U

metal	   +				  -

surface	   +		   +		  -

+		-		  -

Ion		  N

With a metal contact on both sides and connected via a resistor, a thin layer with n-type Si (donors) leads to a depletion of electrons (a positive depletion layer).  When an energetic particle penetrates the Si many electron-ion pains are produced (electron-defect pairs).  Typically 3 eV (exactly 3.24 eV) is needed on average for the creation of each pair.  The electrons move to the positive depletion layer, the defect-electrons (by exchanging electrons) to the other sides.  This creates a charge pulse.  In this simple set up the charge is not collected well.  The electric field is only concentrated in the depletion layer.  To make the SSD equally useful throughout the crystal an external bias voltage is applied.

U

Ion

+   +     + + +	    -

+					   +	  +   +     -  -  -

+   +

+   +

R

pulse

C     amplifier

Now there is an electric field throughout the SSD, and all the charge can be collected.

We can calculate the charge that is produced by a penetrating particle according to

(IV.1_1)

where	(w ( 3 eV for Si.

For example:

1 MeV =		3 ( 105 electrons 	=	5 ( 10-14 Cb

Such a signal is easy to measure.

However, a SSD also produces noise:

- For example e-i pairs are created thermally (more at higher temperatures).

- Together with the capacitance of the SSD all amplifiers create noise (more for higher C).  Larger and thinner detectors have a higher C!

Typical values of the noise generated by SSDs are

3 – 30 keV			(equivalent to a signal of a particle with that energy)

i.e.	1000 – 10,000 electrons

Therefore, SSDs are better for higher energies. The relative importance of the noise contribution decreases:

noise equivalent ∆E

and the resolution is improved.

Thus the SSD should be better and better with higher energies.  But, what happens for ions with higher and higher energies?

Beyond a certain energy the ion will pass through the detector.  It will only deposit a fraction of its energy in the detector. To measure the total energy, we need thicker SSDs. This is a limitation for energy measurements, but it opens another opportunity to get more information.

IV.2  Energy Loss in Matter

The energy loss, which is used to produce the signal in the SSD and provides a measurement tool, was one of the problems limiting TOF spectrometers for low energies. To get a start signal an entrance foil is needed, from which the start electrons are kicked off. Therefore, the foil has to be thin in a TOF spectrometer to minimize energy loss. However, the energy loss can be put to use in a different way for higher energies, where TOF measurements fail to provide us with an accurate mass determination.  The energy loss itself depends on the nuclear charge Z, i.e. depends on the element.  If we can measure the energy loss in a known layer of material, for example in a thin SSD, and the remaining energy in a thick SSD, we can deduce both Z and E for the incoming ion.

Ion

SSD1			SSD2

(E				    E

Therefore, let us concentrate briefly on the physics of energy loss. The energy loss comes mainly from collisions with electrons in the material, it is Coulomb interaction.

(IV.2_1)

Z is the nuclear charge of the projectile (we assume a fully stripped ion to begin with).

collision parameter

minimum distance

b

ion trajectory

2b

Exactly, the momentum exchange would result from:  	
In a simplistic approach we estimate the result by the effect over ∆t = 2b/v

(IV.2_2)

The corresponding energy loss is:

(IV.2_3)

- and therefore proportional to Z2 and 1/(2 of the penetrating ion.

The total energy loss also depends on the density of electrons ne in the target material

db

dx

ion										(

b

We compute the number of electrons in the volume dV:

dV = 2(b db dx												(IV.2_4)

To get the total specific energy loss in the material we have to integrate over all relevant impact parameters of the ions b. By combining (IV.2_3) and (IV.2_4) we get then:

(IV.2_5)

For the Coulomb force the integral would diverge, if we attempted to integrate from 0 to ∞. Thus we have to argue for limits bmin and bmax. At bmin the maximum momentum loss to an electron occurs, i.e.	2 mev. It is limited by the maximum effect of elastic collision between an incoming ion and an electron. Therefore:

(IV.2_6)

At bmax a minimum energy is transferred. For traversal through neutral material (E ≥ I, where I is the average excitation energy of the atoms in the material.  Thus

(IV.2_7)

Combine IV.2_5, 6 and 7:

(IV.2_8)

A full Q.M. treatment adds a factor of 2 over our simplistic arguments.  Apart from the slow variation in the lograthm the energy loss (dE/dx) curves for individual projectile elements go as ~1/v2 for high energies, but become constant at relativistic energies.  At low energies the curves turn over, usually with a maximum at (1 MeV/Nucleon.

Viewgraph

At low energies there is a modification, since the particles are not fully ionized anymore.  However, the curves are well known for all elements from measurements and can thus be used to determine the species for a penetrating particle from measurements of (E and E.

For energies of (1 MeV/Nucleon to several MeV/Nucleon SSDs are too thick to be used as the component to measure ∆E.  The range R of the ion, before it is stopped, is:

(IV.2_9)

where		f(E) =  is too short in the solid state material.

Here gas counters are used.  The material layer (or the column density) of gas can be made much thinner than that of a SSD.

IV.3  Proportional Counters

In a gas counter the incoming energetic particle ionizes gas atoms on its way through the counter such that

(E = No ( I													(IV.3_1)

where 	I the average ionization energy and No  the number of electron-ion pairs created.

U+

-

-      +

-      +

-      +

-      +

+

particle

The charge q = Ne ( e is collected at the electrodes when a voltage U is applied to collect all charged particles.  The pulse is detected through an amplifier chain.  Typical ionization energies for counter gases (Ar or Isobutane [C4H10]) are Wi ( 30 eV.

Example:		2 cm counter with 40 Torr gas

1 MeV/Nucleon		(-particle

(E ( 200 keV			q = 10-15 Cb

This is at the limit of detection for this operation mode of a gas counter, which is called an ionization chamber.

If the electric field E, i.e. the voltage U is increased, such that the electrons reach the ionization energy Wi before they hit another molecule of the gas, more electron-ion pairs are generated.  We get gas amplification.

The average energy of an electron in an electric field and with collisions in a gas can be written as

(IV.3_2)

where ( is the mean free path between 2 collisions with neutral atoms.

Since		( ~ 1/P					P = gas pressure

( ~ E/P																(IV.3_3)

For ( Wi we get plenty of ionizing collisions and

(IV.3_4)

where the exponential is the amplification factor.

The plate geometry is not favorable for a counter, because it is hard to achieve fields high enough to get good amplification without risking a permanent discharge.  Secondly, the amplification varies for each location in the counter. Therefore, counters with thin anode wires are preferred.

-	+										        -

-	   +											      -

ri

-	+											   -

-	    +										ro	 -

+U

Around the counter wire a cylindrical potential is formed with

(IV.3_5)

i.e. the field and therefore the average energy of the electrons scales as 1/r.  Inside a threshold radius rT    ( > Wi.  Thus (IV.3_4) can be turned into

(IV.3_6)

rT =    and no = P/kT.  T is a constant that only depends on the type of gas used.

(IV.3_7)

The gas amplification is on weakly dependent on the gas pressure, but varies almost exponentially with the counter voltage U.  However, the total number of electron-ion pairs ne is still proportional to the original number neo.  This regime is called a proportional counter.  As a function of u we get the differential operational regimes of gas counters.

q

discharge

Geiger

Müller

counter

proportional

counter

Ionization

chamber

U

For high amplifications the electrons build up a space charge around the wire and limit the signal.  In this saturation region the gas counter is operated as a Geiger-Müller counter.

Demo

The scheme of a proportional counter can be extended to an imaging counter by going to many wires instead of one.

y

+

Ai			   Ai+1			  Ai+2

yi				yi+1				yi+2

The charge collected at the anode at position y creates image charges at the multiwire strips of the cathode, with the signals proportional to the individual capacitance between cathode wire group and anode.  We find the position y as the center of gravity of the measured pulses Ai.

(IV.3_8)

Wire chambers have been in use as detectors at accelerators and as x-ray cameras on satellites.  We will use it as (E and position detector for a new instrument in combination with electrostatic deflection.

Demo

IV.5  High Energy Detectors

In order to stop high energy particles thicker and thicker materials are necessary.  Very thick SSDs are impractical because they would need a very high bias voltage.  For thicknesses beyond a few mm the use of scintillators is very common.

photons	scintillator							Photomultiplier

Photodiode

In a scintillator crystal the conversion of ion energy into photons through excitation of bound electrons is put to use.  The photons are detected

by		-		a photodiode					or

by		-		a photomultiplier.

The total measured photon energy is proportional to the deposited energy.  In combination with SSDs scintillators can be employed as a (E – E detector to determine Z and E.

# Earth as Magnetic Spectrometer

Can we also determine the charge state Q at energies > 10 MeV/charge?  All electrostatic deflection methods in an instrument become impractical.  However, we can use the Earth's magnetic field as spectrometer. Only particles with gyro radii larger than typically 1 Earth radius in magnetic field of the strength at the Earth’s surface will make it to low altitudes when coming from outer space (this is a very rough estimate). Conversely, an ion that has made it into the Earth’s magnetic field, for example, after a collision or through the leaky regions over the poles, will remain trapped in the Earth’s magnetic field.

energetic ion

Earth's magnetic field

polar cut											equatorial cut

Only particles with a "rigidity" R = p/(Qe), where p is the momentum,

have a large enough gyro radius to reach the ground at the equator.  The connection between gyro radius and rigidity can be seen from:

where Ampv = p

The cutoff rigidity Rcutoff can be estimated by asking the question, whether the ion can escape from Earth.  Penetration and escape are equivalent.  An approximation of the value can be obtained by computing the rigidity necessary for a spherical orbit at low altitude and simply using the magnetic field strength at the Earth’s surface.

The cut-off rigidity contains the momentum p (and thus the energy E) and the ionic charge Q of a particle.  Therefore, we get the charge Q by determination of Rcutoff and E.  To get Rcutoff more accurately, the arrival direction of particles is observed, and then the trajectory is calculated backwards for the actual position of the spacecraft at the time of observation.  The cutoff depends on latitude, as can be seen from the sketch of the Earth’s magnetic field. It gives a fairly accurate value for the charge of the particles, which just make it through to low altitude.

# Text boxes

-

. ((xx

(

(

(

(

(

(

(